Notification to an affected Party of a proposed activity 
under article 3 of the Convention

| 1. INFORMATION ON THE PROPOSED ACTIVITY |  |
| --- | --- |
| (i) Information on the nature of the proposed activity |  |
| Type of activity proposed | Construction of a wind power plant (wind farm) for the production of electricity from wind energy |
| Is the proposed activity listed in appendix I to the Convention? | Yes ☑ No |
| Scope of proposed activity (e.g. main activity and any/all peripheral activities requiring assessment) | Installation of 55 wind turbines with a capacity of between 6 and 8 MW with crane pads and access roads; construction of a 30(35)/110 kV step-up substation for the power plant on its territory; construction of a network of underground cables between the turbines and the substation for electric current with 30 or 35 kV; construction of a 110 kV overhead power line between the substation and a new transmission substation, which will be built by the operator of the National Electricity Transmission Grid. |
| Scale of proposed activity (e.g. size, production capacity) | Wind power plant (wind farm) with 55 wind turbines and a total installed capacity of up to 440 MW. The total area of the land properties in which the turbines will be installed is 868,079 m2. |
| Description of proposed activity (e.g. technology used) | The investment proposal stipulates a change in the number of wind turbines (from 79 in a previous version to 55 now) and their replacement with new models with increased power and dimensions, a correction of the locations of the turbines, as well as the location and characteristics of the substations, which leads to corrections of the routes of the underground cable lines of medium voltage 33 (or 35) kV. Optimization is necessary in connection with the implementation of new technologies introduced in the latest generations of wind turbines. They increase productivity, reduce noise levels and include measures to reduce the risk of collisions with birds. |
| Description of purpose of proposed activity | The aim of the project is to produce electricity from wind energy, which is a renewable and sustainable form of energy, and to transfer the generated electricity to the national electricity transmission system of the Republic of Bulgaria. The government's aim is to increase the share of electricity produced from renewable sources and reduce the amount of carbon emissions generated by the country's production of electricity. |
| Rationale for proposed activity (e.g. socio-economic basis, physical geographic basis) | Climate change is driving investors' interests towards green energy and to activities which do not have a negative impact on the environment. For this reason, wind farms become attractive projects because they use renewable energy, bring economic benefits and are environmentally friendly. |
| Additional information/comments | The investment project provides for optimization and adjustment of a part of the parameters of a previously approved version of the same investment proposal, for which the Director of RIEW Varna has pronounced with his decision No BA-18/2012, approving the construction of Wind Farm “Krushari”, consisting of 79 wind electric generators. In the period 2015-2016, due to a change in the company's business model, the Investor froze the development of the project and now restores it in an optimized version, which reflects changes in technological development, increases the power of the turbines and reduces their number from 79 to 55. |
| (ii) Information on the spatial and temporal boundaries of the proposed activity |  |
| Location | Wind Park "Krushari" will be implemented on the lands of the villages of Alexandria, Dobrin, Koriten, Krushari, Polkovnik Dyakovo, Poruchik Kardzhievo, Zagortsi and Zementsi in the Municipality of Krushari and of the village of Rositsa in the Municipality of General Toshevo, in Dobrich District, Bulgaria |
| Description of the location (e.g. physical-geographic characteristics, socio-economic characteristics) | The wind farm will be built on agricultural land. Its territory does not directly affect protected zones from Natura 2000, protected territories, Corine sites, Ramsar sites, floristically important sites and ornithologically important places. The nearest SAC under the Natural Habitats Directive is BG0000107 “Suha Reka", which is 100 m from the nearest wind turbine. The closest SPA under the Wild Birds Directive is BG0002048 “Suha Reka”. The distance from it to the nearest turbine is 2100 m. The nearest Natura 2000 SPAs on Romanian territory are ROSPA0008 “Băneasa - Canaraua Fetei” and ROSPA0036 “Dumbrăveni”; the nearest SAC is ROSAC0071 “Dumbrăveni - Valea Urluia - Lacul Vederoasa”. They are all more than 9 km away from the turbines which are closest to them. The location of the wind farm and its connecting infrastructure fits well into the existing agricultural landscape and land cover and does not hinder the agricultural livelihood of the population. The turbines do not interfere with the cultivation of the land, nor with transport, nor with hunting or any other activity important to the population of the area. |
| Rationale for location of proposed activity (e.g. socio-economic basis, physical-geographic basis) | The data from the specialized maps of the wind potential in Bulgaria show that the chosen location is one of those with a high density of wind energy flow and the construction of a wind farm there has a good economic justification. |
| Time frame for proposed activity (e.g. start and duration of construction and operation) | The construction of the farm will last a total of about 24 months and includes the following stages: 1. Widening and improving some of the existing dirt roads and laying local road connections where necessary to access the properties. 2. Construction of crane pads, foundations for the columns and installation of wind turbines. 3. Conducting preliminary trials. |
| Maps and other pictorial documents connected with the information on the proposed activity | The following maps are included as annexes to the "Information to the Request for Assessment of the Need for EIA" document, attached to this Notification: - Location of the turbines of “Krushari” Wind Power Plant (Appendix 1). - Possible locations of 30(35)110 kV step-up substations (Annex 8). - Conceptual diagram of the routes of the underground cables of medium voltage 30(35) kV (Appendix 9a). - Natura 2000 sites located near “Krushari” Wind Power Plant (Annex 11a). - Map of soil types in the area of “Krushari” Wind Power Plant (Appendix 13). |
| Additional information/comments |  |
| (iii) Information on expected environmental impacts and proposed mitigation measures |  |
| Scope of assessment (e.g. consideration of: cumulative impacts, evaluation of alternatives, sustainable development issues, impact of peripheral activities) | In the area around the “Krushari” Wind Power Plant, new investment intentions have been announced, containing a total of 255 wind turbines. This number is 41 fewer than the proposals approved by EIA Decisions in this region in the period 2008-2012. They may have a cumulative impact, increasing the impact of “Krushari” Wind Power Plant. This concerns, in particular, the noise impact and the risk to the migratory birds found in the area, including the risk of collisions with turbines, although the assessments made in 2008-2012 have shown that even though there was a larger number of noisier turbines, the cumulative impact was negligible. There are alternatives for the location of a 30(35)/110 kV step-up substation on the territory of the park, which can be built in Plot No.57234.15.39 and Plot No.57234.15.4, in the land of the village of Polkovnik Dyakovo or in Plot No.57858.9.31 in the land of the village of Poruchik Kardzhievo. Currently, the working alternative includes the construction of only one 30(35)/110 kV step-up substation in the land of the village of Polkovnik Dyakovo, but an option with two step-up substations is also possible - one in each of the specified lands. The choice of the alternative depends on the method of connection to the national electricity transmission grid, which will be required by its operator ESO EAD. |
| Expected environmental impacts of proposed activity (e.g. types, locations, magnitudes) | In general, wind farms can have a negative impact on soils, on the morphological characteristics of the landscape, on habitats, on birds, on human health and other components of the environment, depending on the terrain and on the characteristics of the project. The preliminary assessments for the “Krushari” Wind Farm show that impacts can be expected on the acoustic environment, on Natura 2000 protected areas, on birds, on part of the soil cover and the landscape, on the ambient air, but they will have a low magnitude and consequences for the environment. No impact on water is expected. Some of these possible impacts are related only to the period of construction of the wind farm. |
| Inputs (e.g. raw material, power sources) | In addition to building materials for construction, during the operation phase, the wind farm will consume only wind energy, which is a renewable natural resource. |
| Outputs (e.g. amounts and types of: emissions into the atmosphere, discharges into the water system, solid waste) | The total amount of greenhouse gases emitted during construction, expressed in CO2-eq., will be 643.5 kilograms/hour. Considering the windy and well-ventilated region and the non-simultaneous construction, it is obvious that even with intensive work with such emissions, it is impossible to exceed the emission norms for settlements in the adjacent properties, in general. The impact of the construction machines and equipment, as a diffuse source of pollution, will be local, temporary, short-term, reversible, and insignificant. The expected emissions and waste are described in detail in the document "Information to the Request for Assessment of the Need for EIA", which is attached to this Notification. |
| Transboundary impacts (e.g. types, locations, magnitudes) | There are no plans to enter or pass through the Romanian territory, neither during the construction, nor during the operational phase of the wind farm. The absence of physical contact makes it impossible for the habitats in ROSAC0071 “Dumbrăveni-Valea Urluia-Lacul Vederoasa”, which is protected under the Habitats Directive, to be affected. The two Romanian SPAs ROSPA0008 “Băneasa - Canaraua Fetei” and ROSPA0036 “Dumbrăveni”, which are protected under the Birds Directive, are located more than 9 km from the closest turbines, and at such a distance the possibility of having an impact on the birds is only theoretical. |
| Proposed mitigation measures (e.g. if known, mitigation measures to prevent, eliminate, minimize, compensate for environmental effects) | Despite the fact that, according to the preliminary analyses, the impact of the wind farm on the environment will be low, possible measures are envisaged to limit the impact on all its components: atmospheric air, water and water bodies, geological base and underground resources, soils, flora, fauna, elements of the National Ecological Network, waste, harmful physical factors, cultural and historical heritage sites (none have been found, so far) and the landscape. |
| Additional information/comments | The possible mitigation measures are described in detail in the document "Information to the Request for Assessment of the Need for an EIA" attached to this Notification. |
| (iv) Proponent/developer |  |
| Name, address, telephone and fax numbers | KA ENERGY Ltd., UIC: 200473368, represented by Velizar Georgiev Kriakov, Head office and registered office: Varna 9000, 47, Petko Yu. Todorov Str. Tel.: +359 899675008 E-mail: kan@kan.bg Contact person: Mrs. Zornitsa Pavlova |
| (v) EIA documentation |  |
| Is the EIA documentation (e.g. EIA report or EIS) included in the notification? | Yes No Partially ☑ |
| If the answer to the above is no or partially, description of additional documentation to be forwarded and (approximate) date(s) when documentation will be available | Attached to the Notification is the document "Information to the Request for Assessment of the Need for EIA", with 18 technical annexes, which has been submitted to the Competent Authority at the Screening Phase. At this stage, there are no other documents related to the EIA procedure that can be submitted. The Terms of Reference for the EIA, which will be presented at the next phase - determining the scope of the EIA (Scoping Phase), will be prepared after carrying out the public consultations with all stakeholders, which are still pending. |
| Additional information/comments | In the event that, despite the preliminary assessments, it is assumed that the park may have a transboundary impact, public consultations will also be carried out with the stakeholders on the territory of Romania and the results from these consultations will also be included in the Terms of Reference for EIA. |
| 2. POINTS OF CONTACT |  |
| (i) Points of contact for the possible affected Party or Parties |  |
| Authority responsible for coordinating activities relating to the EIA (refer to decision I/3, appendix) - Name, address, telephone and fax numbers | Minister Diana-Anda Buzoianu Ministry of Environment, Water and Forests of Romania 12 Libertăţii Blvd., Sector 5, Bucharest Fax: +40 214 089 615 Tel: +40 214 089 642 E-Mail: registratura@mmediu.ro |
| List of affected Parties to which notification is being sent | The interested parties on the Bulgarian side are known, and those on the Romanian side should be indicated in the reply to this Notification |
| (ii) Points of contact for the Party of origin |  |
| Authority responsible for coordinating activities relating to the EIA (refer to decision I/3, appendix) - Name, address, telephone and fax numbers | Minister Manol Genov Ministry of Environment and Waters 22, Marie Louise Blvd. 1000 Sofia Tel.: +359 2 940 60 00 Tel.: +359 2 988 25 77 Ε-mail: edno_gishe@moew.government.bg |
| Decision-making authority if different than authority responsible for coordinating activities relating to the EIA - Name, address, telephone and fax numbers | In case the Romanian side assumes that Wind Power Plant “Krushari” has a transboundary impact, the Competent Authority under the EIA procedure will be the Bulgarian Ministry of Environment and Water, together with representatives of the Ministry of Environment, Water and Forestry of Romania. In case the Romanian side does not express interest in participating in the EIA procedure, the Competent Authority remains the current one - RIEW Varna. |
| 3. INFORMATION ON THE EIA PROCESS IN THE COUNTRY WHERE THE PROPOSED ACTIVITY IS LOCATED |  |
| (i) Information on the EIA process that will be applied to the proposed activity |  |
| Time schedule | The public consultations will be held within a month and a half, after receiving instructions to start the consultations from the Competent Authority |

| Opportunities for the affected Party or Parties to be involved in the EIA process | All parties that declare interest as a result of the notification, both on the Bulgarian and Romanian sides, will be involved in the public consultations |
| --- | --- |
| Opportunities for the affected Party or Parties to review and comment on the notification and the EIA documentation | Copies of the EIA report with its annexes, translated into the respective language, will be sent to all interested institutions and mayors of the settlements for familiarization and preparation of opinions and recommendations, if any. |
| Nature and timing of the possible decision | The Decision may approve or disapprove the implementation of the proposed activity. The moment of adopting the Decision is specified in the national legislation of the Republic of Bulgaria. |
| Process for approval of the proposed activity | After supplementing the EIA Report with the results from the public consultations, it will be submitted to the Competent Authority for appointing a Session for its consideration |
| Additional information/comments | The members of the Council for considering the EIA Report shall be appointed by the Competent Authority and, in the event of a transboundary impact, the Council shall, also, include members from Romania |
| 4. INFORMATION ON THE PUBLIC PARTICIPATION PROCESS IN THE COUNTRY OF ORIGIN |  |
| Public participation procedures | The competent authority or an official authorized by it shall designate the affected municipalities, regions and/or mayoralties with which the project proponent shall organize a public discussion on the EIA report and its annexes. The project proponent shall provide a copy of the EIA report with all annexes thereto to all affected municipalities, regions and/or mayoralties designated by the competent authority. The affected municipalities, regions or mayoralties shall confirm in writing the place, date and time for holding the meeting(s) for public discussion, the place and time for public access to the EIA report and its annexes, as well as the place for submission of written opinions, or shall make another suggestion. The project proponent shall announce them in the mass media and/or in another appropriate way, at least 30 days before the meeting(s). The project proponent shall notify the competent authority in writing of the place, date and time for holding the meeting(s) for the public discussion, so that the competent authority can announce them through its website, at least 30 days before the meeting(s) for public consultation. |
| Expected start and duration of public consultation | The date on which the first meeting for public discussion will be held with the respective affected municipalities, regions or mayoralties, shall be considered to be the beginning of the public discussion. The duration of the public discussion depends on the number of persons and parties expressing interest and, accordingly, on the number of public discussion meetings. |
| Additional information/comments |  |
| 5. DEADLINE FOR RESPONSE |  |
| Date | One month from the date of receipt of this Notification |